LEAD SCREEN TECHNICAL SPECIFICATION

It should be in L screen shape.

It should be covered with two-sided chipboard slide.

There should be a 2mm thick lead plate between the chipboard slides.

There should be a 2mm thick lead plate between the chipboard slides.

At a height above the screen where the patient can be monitored; It should be 20x20cm lead glass.

The edges of the screen should be framed.

Leaded glass must be in the dimensions required by the institution.

The wheel, which has the ability to move in all directions, must have legs and the wheels must have a locking system to fix it when desired.

The wheel, which has the ability to move in all directions, must have legs and the wheels must have a locking system to fix it when desired.

There must be test reports. It should offer this when requested.

There must be test reports. It should offer this when requested.

The seller must provide a work experience document or reference regarding previous work he has done regarding the products, if requested by the institution.