FRONT PROTECTION LEAD-FREE APRON TECHNICAL SPECIFICATION

The apron must be a front protection model. It should be closed with velcro straps that cross from the front to the back. In line with the hospital's request, a belt system that closes at the front should be made instead of velcro. Our institution will determine the choice.

The size of the apron should be chosen by the users and should fit the users' bodies. In this regard, the product provider company should supply products in sizes xs – s –m-l-xl-xxl-xxxl.

For ergonomic use and long life of the lead-free apron, the inner fabric coating and fabric color of the apron and the outer fabric coating and color should be different. In accordance with safety standards, the gown must have a dosimeter pocket on the front. Upon the request of the institution and the user, there should be a dosimeter pocket on the inside of the gown.

The size of the apron should be chosen by the users and should fit the users' bodies. In this regard, the product provider company should supply products in sizes xs – s –m-l-xl-xxl-xxxl.

Lead-free aprons should have color options. The user should be able to choose a color according to the color options upon request. There should be a fabric option for lead aprons. The user should be able to request the product as oxfort, polyuran PU hydrophobic or antibacterial upon request. A technical document must be submitted regarding the fabric used in the production of the product.

Lead-free aprons should have color options. The user should be able to choose a color according to the color options upon request. There should be a fabric option for lead aprons. The user should be able to request the product as oxfort, polyuran PU hydrophobic or antibacterial upon request. A technical document must be submitted regarding the fabric used in the production of the product.

The x-ray protective lead apron must be produced and certified in accordance with the Personal Protective Equipment Regulation (Official Gazette No. 30761 dated 01 May 2019, new regulation (EU) 2016/425 It must.

There must be full approval and test reports for the production of the product. It should offer this when requested.

There must be an ISO 45001:2018 certificate for the production of radiation protective products, which is internationally valid, from an accredited institution for the production of the product.

There must be an ISO 45001:2018 certificate for the production of radiation protective products, which is internationally valid, from an accredited institution for the production of the product.

The manufacturer must have ISO 14001:2015 certification.

The manufacturer must have ISO 14001:2015 certification.

The seller must provide a work experience document or reference regarding previous work he has done regarding the products, if requested by the institution.

It should be easy to use and fit around the body.

Lead-free aprons should be numbered with embroidery. Velcro name can be added if desired.

It should be easy to use and cover the body, and the apron should provide 0.50% protection in all areas of the front.

The fabric used must be waterproof, easy to wipe for long-term use and hygiene. The piping of the apron must be waterproof.

The manufacturer must provide a 2 (two) year warranty against production defects of lead aprons.