LEAD Apron MUST PROVIDE PROTECTION AGAINST RADIATION EQUIVALENT TO 0.50 mm Pb ON THE FRONT AND 0.25 mm Pb LEAD ON THE BACK.

LEAD Apron MUST PROVIDE PROTECTION AGAINST RADIATION EQUIVALENT TO 0.50 mm Pb ON THE FRONT AND 0.25 mm Pb LEAD ON THE BACK.

For ergonomic use and long life of the lead apron, the inner fabric covering and fabric color of the apron and the outer fabric covering and color should be different. In accordance with safety standards, the lead apron must have a dosimeter pocket on the front. Upon the request of the institution and the user, there should be a dosimeter pocket on the inside of the gown.

The size of the apron should be chosen by the users and should fit the users' bodies. In this regard, the product provider company should supply products in sizes xs – s –m-l-xl-xxl-xxxl.

The size of the apron should be chosen by the users and should fit the users' bodies. In this regard, the product provider company should supply products in sizes xs – s –m-l-xl-xxl-xxxl.

The apron label must contain manufacturer information, vendor information, size information, production date, lot number, barcode number, notified body number (CE) in accordance with the 2016/425 EU revision.

There must be a test report of the raw material manufacturer for the protective material. The company that produces the lead apron must submit a test report regarding the testing of the products, and a test report regarding the protective raw material must also be submitted from the raw material manufacturer.

Lead aprons should have color options. The user should be able to choose a color according to the color options upon request. There should be a fabric option for lead aprons. The user should be able to request the product as oxfort, polyuran pu, hydrophobic or antibacterial upon request. A technical document must be submitted regarding the fabric used in the production of the product.

The x-ray protective lead apron must be produced and certified in accordance with the Personal Protective Equipment Regulation (official gazette dated 01 May 2019 and numbered 30761, new regulation (EU) 2016/425

The x-ray protective lead apron must be produced and certified in accordance with the Personal Protective Equipment Regulation (official gazette dated 01 May 2019 and numbered 30761, new regulation (EU) 2016/425

There must be full approval and test reports for the production of the product. It should offer this when requested.

There must be full approval and test reports for the production of the product. It should offer this when requested.

The production conditions for the product must comply with ISO 9001:2015 standards and a document must be submitted proving that it complies with these standards.

The manufacturer must have ISO 13485:2016 quality management system certificate.

The manufacturer must have ISO 13485:2016 quality management system certificate.

The manufacturer must have ISO 14001:2015 certification.

The seller must provide a work experience document or reference regarding previous work he has done regarding the products, if requested by the institution.

It should be easy to use and fit around the body.

The fabric used must be waterproof, easy to wipe for long-term use and hygiene. The piping of the apron must be waterproof.

The manufacturer must provide a 2 (two) year warranty against production defects of lead aprons.