The front side of the glasses should provide protection against direct and scatter x-ray irradiation with the equivalent of 0.75mmPb lead and the side side 0.50mmPb lead. This issue will be documented by the company.

- There should be a model that doctors who use glasses can wear over their glasses.

- There will be a special carrying and storage box.

- It should be a soft hair band that is adjustable in head width and can be attached and removed.

- It should not fog up or obstruct vision during use.

- It should be disinfectable and washable when necessary.

- It should be disinfectable and washable when necessary.

- It must be made of impact-resistant material.

- The glasses are full protection models and should block the rays coming from both the front and the sides.

- The protective properties and protection rates of the glasses against X-rays must be documented with the test results.

## X-ray protective lead glasses must be produced and certified in accordance with the Personal Protective Equipment Regulation (Official Gazette dated 01 May 2019 and numbered 30761, new regulation (EU) 2016/425 x personal protection directive).

- Different models should be offered upon hospital request.