X RAY LEAD-FREE GONAD PROTECTIVE TECHNICAL SPECIFICATION

The gonad protector must be made of lead-free rubber equivalent to 1 mm lead-free.

The protective lead material must be light, homogeneous, thin and multi-layered to ensure flexibility.

The fabric used must be waterproof, easy to wipe for long-term use and hygiene.

In order to ensure ergonomic use and longevity of the gonad protector, the inner fabric covering and fabric color of the apron should be different from the outer fabric covering and color.

There must be a test report of the raw material manufacturer for the protective material. The company that produces gonad protectors must submit a test report regarding the testing of the products, and a test report regarding the protective raw material must also be submitted from the raw material manufacturer.

In order to prevent counterfeit production of imported products, to prevent products that are tried to be imported by being licensed abroad and then produced here, products that are produced illegally in Türkiye by pretending to be German goods or goods of another country, and products sold under other names, if an imported product is to be supplied, an import declaration regarding the purchase must be submitted. There must be an acceptable period between the import date of the import declaration and the sale date of the imported product.

Gonad protectors should have color options. The user should be able to choose a color according to the color options upon request. Gonad protectors should have a fabric option. The user should be able to request the product as oxfort, polyuran PU, hydrophobic or antibacterial upon request. A technical document must be submitted regarding the fabric used in the production of the product.

In line with the old standards for products, article 11a article 11b certificate should not be submitted. These documents have become obsolete and documents must be submitted for the sale of products certified according to the new revision.

In line with the old standards for products, article 11a article 11b certificate should not be submitted. These documents have become obsolete and documents must be submitted for the sale of products certified according to the new revision.

The seller must provide a work experience document or reference regarding previous work he has done regarding the products, if requested by the institution.

The seller must provide a work experience document or reference regarding previous work he has done regarding the products, if requested by the institution.

Color selection should be possible for gonad protectors. The vendor must have a UBB registration number.

Color selection should be possible for gonad protectors. The vendor must have a UBB registration number.

Gonad protector should be produced in small-medium-large sizes.

The label of gonad protectors must contain manufacturer information, vendor information, size information, production date, lot number and barcode number.

The manufacturer must provide a 2 (two) year warranty against gonad protector defects.