The head protector must be made of lead-free compound equivalent to 0.25 mm LE lead.

The head protector must be made of lead-free compound equivalent to 0.25 mm LE lead.

Inflexible single-layer protective material should not be used in the construction of head protection.

Inflexible single-layer protective material should not be used in the construction of head protection.

It must provide sufficient protection rate and have an appropriate design to protect the skull and intracranial structures of those working in high radiation environments.

It should be comfortable to use and preferably have rope or elastic. Head protection should be made of anti-sweat fabric.

The fabric used must be waterproof, easy to wipe for long-term use and hygiene.

For ergonomic use and long life of the head protector, the inner fabric covering and fabric color of the apron should be different from the outer fabric covering and color.

Head protectors should have color options. The user should be able to choose a color according to the color options upon request. There should be a fabric option for head protectors. The user should be able to request the product as oxfort, polyuran PU, hydrophobic or antibacterial upon request. A technical document must be submitted regarding the fabric used in the production of the product.

Regarding head protectors, they must be produced and certified in accordance with the Personal Protective Equipment Regulation (Official Gazette No. 30761 dated 01 May 2019, new regulation (EU) 2016/425

The production conditions for the product must comply with ISO 9001:2008 standards and a document must be submitted proving that it complies with these standards.

There must be an ISO 45001:2018 certificate for the production of radiation protective products, which is internationally valid, from an accredited institution for the production of the product.

There must be an ISO 45001:2018 certificate for the production of radiation protective products, which is internationally valid, from an accredited institution for the production of the product.

Head protectors must be numbered with embroidery. Velcro name should be added if desired.

Head protectors must be numbered with embroidery. Velcro name should be added if desired.

The fabric used must be waterproof, easy to wipe for long-term use and hygiene. The piping of the apron must be waterproof.