LEAD-FREE THYD PROTECTIVE TECHNICAL SPECIFICATION

The thyroid protector against radiation must be made of lead-free material equivalent to 0.50 mm LE lead on the front.

The thyroid protector label must contain manufacturer information, vendor information, size information, production date, lot number, barcode number and notified body number (CE).

The thyroid protector label must contain manufacturer information, vendor information, size information, production date, lot number, barcode number and notified body number (CE).

Regarding thyroid protectors, they must be produced and certified in accordance with the Personal Protective Equipment Regulation (Official Gazette dated 01 May 2019 and numbered 30761, new regulation (EU) 2016/425 is required.

Regarding thyroid protectors, they must be produced and certified in accordance with the Personal Protective Equipment Regulation (Official Gazette dated 01 May 2019 and numbered 30761, new regulation (EU) 2016/425 is required.

There must be full approval and test reports for the production of the product. It should offer this when requested.

The production conditions for the product must comply with ISO 9001:2015 standards and a document must be submitted proving that it complies with these standards.

Internationally valid ISO certification for the production of radiation protection products from an accredited institution for the production of the product.

Internationally valid ISO certification for the production of radiation protection products from an accredited institution for the production of the product.

Must have 45001:2018 certificate.

The seller must provide a work experience document or reference regarding previous work he has done regarding the products, if requested by the institution.

The fabric used must be waterproof, easy to wipe for long-term use and hygiene. The piping of the apron must be waterproof.

The manufacturer must provide a 2 (two) year warranty against production defects of lead aprons.