Inflexible single-layer protective material should not be used in the construction of head protection.

It should be comfortable to use and preferably have rope or elastic.

The protective lead material must be light, homogeneous, thin and multi-layered to ensure flexibility.

Inflexible single-layer protective material should not be used in the construction of head protection.

For ergonomic use and long life of the head protector, the inner fabric covering and fabric color of the apron should be different from the outer fabric covering and color.

It should be comfortable to use and preferably have rope or elastic.

The fabric used must be waterproof, easy to wipe for long-term use and hygiene.

For ergonomic use and long life of the head protector, the inner fabric covering and fabric color of the apron should be different from the outer fabric covering and color.

There must be a test report of the raw material manufacturer for the protective material. The company that produces head protection must submit a test report regarding the testing of the products, and a test report regarding the protective raw material must also be submitted from the raw material manufacturer.

In order to prevent counterfeit production of imported products, to prevent products that are tried to be imported by being licensed abroad and then produced here, products that are produced illegally in Türkiye by pretending to be German goods or goods of another country, and products sold under other names, if an imported product is to be supplied, an import declaration regarding the purchase must be submitted. There must be an acceptable period between the import date of the import declaration and the sale date of the imported product.

Head protectors should have color options. The user should be able to choose a color according to the color options upon request. There should be a fabric option for head protectors. The user should be able to request the product as oxfort, polyuran PU, hydrophobic or antibacterial upon request. A technical document must be submitted regarding the fabric used in the production of the product.

In accordance with the old standards for the products, article 11 a article 11 b certificate should not be submitted. These documents have become obsolete and documents must be submitted for the sale of products certified according to the new revision.

The production conditions for the product must comply with ISO 9001:2015 standards and a document must be submitted proving that it complies with these standards.

There must be full approval and test reports for the production of the product. It should offer this when requested.

The production conditions for the product must comply with ISO 9001:2015 standards and a document must be submitted proving that it complies with these standards.

There must be an ISO 45001:2018 certificate for the production of radiation protective products, which is internationally valid, from an accredited institution for the production of the product.

The seller must provide a work experience document or reference regarding previous work he has done regarding the products, if requested by the institution.

Color selection should be possible for head protectors.

Different models should be offered in line with the request of the institution.

Different models should be offered in line with the request of the institution.

Different models should be offered in line with the request of the institution.

The head protector must have a 2 (two) year warranty.