1- THYROID PROTECTIVE AGAINST RADIATION SHOULD BE PRODUCED FROM 0.50 mm Pb MATERIAL ON THE FRONT SIDE. AN ANALYSIS REPORT SHOULD BE SUBMITTED REGARDING THE LEAD CONTENT USED IN ITS PRODUCTION.

1- THYROID PROTECTIVE AGAINST RADIATION SHOULD BE PRODUCED FROM 0.50 mm Pb MATERIAL ON THE FRONT SIDE. AN ANALYSIS REPORT SHOULD BE SUBMITTED REGARDING THE LEAD CONTENT USED IN ITS PRODUCTION.

There should be a model option in the thyroid protector. There should be standard, cape, panoramic, child, cape and wide collar models. The product should be given according to the preference of the institution.

The neck part of the thyroid protector should be closed with a new generation magnetic system for ease of use, not sticking to the user's hair, and for hygiene reasons.

The thyroid protector label must contain manufacturer information, vendor information, size information, production date, lot number, barcode number and notified body number (CE).

There must be a test report of the raw material manufacturer for the protective material. The company that produces thyroid protectants must submit a test report regarding the testing of the products, and a test report regarding the protective raw material must also be submitted from the raw material manufacturer.

Thyroid protectors should have color options. The user should be able to choose a color according to the color options upon request. There should be a fabric option for thyroid protectors. The user should be able to request the product as oxfort, polyuran PU, hydrophobic or antibacterial upon request. A technical document must be submitted regarding the fabric used in the production of the product.

Regarding thyroid protectors, they must be produced and certified in accordance with the Personal Protective Equipment Regulation (Official Gazette No. 30761 dated 01 May 2019, new regulation (EU) 2016/425

Regarding thyroid protectors, they must be produced and certified in accordance with the Personal Protective Equipment Regulation (Official Gazette No. 30761 dated 01 May 2019, new regulation (EU) 2016/425

The production conditions for the product must comply with ISO 9001:2015 standards and a document must be submitted proving that it complies with these standards.

There must be full approval and test reports for the production of the product. It should offer this when requested.

The production conditions for the product must comply with ISO 9001:2015 standards and a document must be submitted proving that it complies with these standards.

The fabric used must be waterproof, easy to wipe for long-term use and hygiene.

The seller must provide a work experience document or reference regarding previous work he has done regarding the products, if requested by the institution.

The fabric used must be waterproof, easy to wipe for long-term use and hygiene.

The department or user name should be written on the collar or neck of the product, in line with the request of the institution.

The manufacturer of thyroid protectors must provide a 2 (two) year warranty against manufacturing defects.