X RAY PROTECTIVE PREGNANT PROTECTIVE lead Apron TECHNICAL SPECIFICATION

- LEAD APRON SHOULD PROVIDE PROTECTION AGAINST RADIATION EQUIVALENT TO Pb LEAD ON THE FRONT.

- It should be strapped over the shoulders. It should be designed to protect the abdominal area.

- For ergonomic use and long life of the lead apron, the inner fabric covering and fabric color of the apron and the outer fabric covering and color should be different.

- The apron label must contain manufacturer information, vendor information, size information, production date, lot number and barcode number.

- The protective lead material must be light, homogeneous, thin and multi-layered to ensure flexibility.

- For pregnant protectors, it must be produced and certified in accordance with the Personal Protective Equipment Regulation (Official Gazette dated 01 May 2019 and numbered 30761, new regulation (EU) 2016/425

- In accordance with the old standards for the products, article 11 a article 11 b certificate should not be submitted. These documents have become obsolete and documents must be submitted for the sale of products certified according to the new revision.

- There must be full approval and test reports for the production of the product. It should offer this when requested.

- There must be an internationally valid OHSAS 18001:2007 certificate for the production of radiation protective products from an accredited institution for the production of the product.

- There must be an internationally valid OHSAS 18001:2007 certificate for the production of radiation protective products from an accredited institution for the production of the product.

- There must be a separate test certificate or certificate of conformity for the product obtained from a department in Türkiye.

- Manufacturers must have a domestic product certificate. It must be submitted in the file.

- The fabric used must be waterproof, easy to wipe for long-term use and hygiene. The piping of the apron must be waterproof.

- The fabric used must be waterproof, easy to wipe for long-term use and hygiene. The piping of the apron must be waterproof.

- The manufacturer must provide a 2 (two) year warranty against production defects of lead aprons.

- Color selection should be possible for lead aprons.