LONG HANDLE NUCLEAR LEAD GLOVE

- X-Ray protective lead gloves should provide maximum protection to the user's hands against radiation.

- Its weight should be such that it does not disturb the user.

- Its weight should be such that it does not disturb the user.

- The surface must be cleanable with a wet cloth.

- There should not be any breakage or deformation when folded.

- The product must have a module c2 and module b certificate.

- It must have a lead thickness of 0.50 mm pb

- The product must have a module c2 and module b certificate.

- The company must have an ISO 9001:2015 certificate.

- The company must have an ISO 13485:2016 certificate. This must be presented upon delivery of the material.

- There must be full approval and test reports for the production of the product. It should offer this when requested. A report showing at least 96% protection of the product must be submitted with the product.

- Evaluations should be made on samples.