PANORAMIC MASK TECHNICAL SPECIFICATION

- The panoramic mask should be supplied protected with its special case.

- Panoramic mask must provide at least 1 mm PB protection.

- The panoramic mask is designed to adapt to all types of faces.

- It should provide a clear image due to its transparent feature.

- There should be a support cover on the forehead to protect the forehead.

- The product must be produced and certified in accordance with the Personal Protective Equipment Regulation (Official Gazette dated 01 May 2019 and numbered 30761, new regulation (EU) 2016/425 x personal protection directive).

- The product must be produced and certified in accordance with the Personal Protective Equipment Regulation (Official Gazette dated 01 May 2019 and numbered 30761, new regulation (EU) 2016/425 x personal protection directive).

- The adjustable mechanism must be sturdy.

- It is produced with a non-chipping protector against breakage and disintegration.

- It cannot be deleted.