PEDIATRIC FRONT PROTECTION LEAD APRON TECHNICAL SPECIFICATION

1- LEAD APRON SHOULD PROVIDE PROTECTION AGAINST RADIATION EQUIVALENT TO 0.50 mm Pb LEAD ON THE FRONT. IT MUST PROVIDE PROTECTION ON THE BACK PART IN ACCORDANCE WITH 0.25 PB STANDARDS.

The apron must be a front protection model. It should be closed with velcro straps that cross from the front to the back. In line with the hospital's request, a belt system that closes at the front should be made instead of velcro. Our institution will determine the choice.

The size of the apron should be designed for children aged 3-5, 6-8, 9-12.

In order to prevent counterfeit production of imported products, to prevent products that are tried to be imported by being licensed abroad and then produced here, products that are produced illegally in Türkiye by pretending to be German goods or goods of another country, and products sold under other names, if an imported product is to be supplied, an import declaration regarding the purchase must be submitted. There must be an acceptable period between the import date of the import declaration and the sale date of the imported product.

The apron label must contain manufacturer information, vendor information, size information, production date, lot number, barcode number, approved organization number (CE).

There must be a test report of the raw material manufacturer for the protective material. The company that produces the lead apron must submit a test report regarding the testing of the products, and a test report regarding the protective raw material must also be submitted from the raw material manufacturer.

In order to prevent counterfeit production of imported products, to prevent products that are tried to be imported by being licensed abroad and then produced here, products that are produced illegally in Türkiye by pretending to be German goods or goods of another country, and products sold under other names, if an imported product is to be supplied, an import declaration regarding the purchase must be submitted. There must be an acceptable period between the import date of the import declaration and the sale date of the imported product.

Lead aprons should have fabric options in patterns suitable for children. A technical document must be submitted regarding the fabric used in the production of the product.

The x-ray protective lead apron must be produced and certified in accordance with the Personal Protective Equipment Regulation (Official Gazette No. 30761 dated 01 May 2019, new regulation (EU) 2016/425

In accordance with the old standards for the products, article 11 a article 11 b certificate should not be submitted. These documents have become obsolete and documents must be submitted for the sale of products certified according to the new revision.

There must be full approval and test reports for the production of the product. It should offer this when requested.

The production conditions for the product must comply with ISO 9001:2008 standards and a document must be submitted proving that it complies with these standards.

The seller must provide a work experience document or reference regarding previous work he has done regarding the products, if requested by the institution.

The seller must provide a work experience document or reference regarding previous work he has done regarding the products, if requested by the institution.

It should be easy to use, cover the body, and the gown should provide 0.50 pB protection in all areas of the front.

The manufacturer must provide a 2 (two) year warranty against production defects of lead aprons.

The manufacturer must provide a 2 (two) year warranty against production defects of lead aprons.