PEDIATRIC FULL PROTECTION LEAD APRON TECHNICAL SPECIFICATION

There must be a test report of the raw material manufacturer for the protective material. The company that produces the lead apron must submit a test report regarding the testing of the products, and a test report regarding the protective raw material must also be submitted from the raw material manufacturer.

For ergonomic use and long life of the lead apron, the inner fabric covering and fabric color of the apron and the outer fabric covering and color should be different. In accordance with safety standards, the lead apron must have a dosimeter pocket on the front. Upon the request of the institution and the user, there should be a dosimeter pocket on the inside of the gown.

The size of the apron should be designed for children aged 3-5, 6-8, 9-12.

The apron label must contain manufacturer information, vendor information, size information, production date, lot number, barcode number, approved organization number (CE).

There must be a test report of the raw material manufacturer for the protective material. The company that produces the lead apron must submit a test report regarding the testing of the products, and a test report regarding the protective raw material must also be submitted from the raw material manufacturer.

In order to prevent counterfeit production of imported products, to prevent products that are tried to be imported by being licensed abroad and then produced here, products that are produced illegally in Türkiye by pretending to be German goods or goods of another country, and products sold under other names, if an imported product is to be supplied, an import declaration regarding the purchase must be submitted. There must be an acceptable period between the import date of the import declaration and the sale date of the imported product.

Lead aprons should have fabric options in patterns suitable for children. A technical document must be submitted regarding the fabric used in the production of the product.

The x-ray protective lead apron must be produced and certified in accordance with the Personal Protective Equipment Regulation (official gazette dated 01 May 2019 and numbered 30761, new regulation (EU) 2016/425

In accordance with the old standards for the products, article 11 a article 11 b certificate should not be submitted. These documents have become obsolete and documents must be submitted for the sale of products certified according to the new revision.

There must be full approval and test reports for the production of the product. It should offer this when requested.

The production conditions for the product must comply with ISO 9001:2008 standards and a document must be submitted proving that it complies with these standards.

There must be an internationally valid OHSAS 18001:2007 certificate for the production of radiation protective products from an accredited institution for the production of the product.

It should be easy to use, cover the body, and the gown should provide 0.50 pB protection in all areas of the front.

It should be easy to use, cover the body, and the gown should provide 0.50 pB protection in all areas of the front.

The fabric used must be waterproof, easy to wipe for long-term use and hygiene. The piping of the apron must be waterproof.

The manufacturer must provide a 2 (two) year warranty against production defects of lead aprons.