1- THYROID PROTECTIVE SHOULD BE MANUFACTURED FROM 0.50 mm Pb MATERIAL AGAINST RADIATION. AN ANALYSIS REPORT SHOULD BE SUBMITTED REGARDING THE LEAD CONTENT USED IN ITS PRODUCTION.

1- THYROID PROTECTIVE SHOULD BE MANUFACTURED FROM 0.50 mm Pb MATERIAL AGAINST RADIATION. AN ANALYSIS REPORT SHOULD BE SUBMITTED REGARDING THE LEAD CONTENT USED IN ITS PRODUCTION.

The thyroid protector label must contain manufacturer information, vendor information, size information, production date, lot number, barcode number and notified body number (CE).

The thyroid protector label must contain manufacturer information, vendor information, size information, production date, lot number, barcode number and notified body number (CE).

The product label must contain manufacturer information, vendor information, size information, production date, lot number, barcode number, notified body number (CE) in accordance with the 2016/425 EU revision.

The product label must contain manufacturer information, vendor information, size information, production date, lot number, barcode number, notified body number (CE) in accordance with the 2016/425 EU revision.

In order to prevent counterfeit production of imported products, to prevent products that are tried to be imported by being licensed abroad and then produced here, products that are produced illegally in Türkiye by pretending to be German goods or goods of another country, and products sold under other names, if an imported product is to be supplied, an import declaration regarding the purchase must be submitted. There must be an acceptable period between the import date of the import declaration and the sale date of the imported product.

Regarding thyroid protectors, they must be produced and certified in accordance with the Personal Protective Equipment Regulation (Official Gazette No. 30761 dated 01 May 2019, new regulation (EU) 2016/425

In accordance with the old standards for the products, article 11 a article 11 d certificate should not be submitted. These documents have become obsolete and documents must be submitted for the sale of products certified according to the new revision.

There must be full approval and test reports for the production of the product. It should offer this when requested.

There must be full approval and test reports for the production of the product. It should offer this when requested.

The seller must provide a work experience document or reference regarding previous work he has done regarding the products, if requested by the institution.

There must be an ISO 45001:2018 certificate for the production of radiation protective products, which is internationally valid, from an accredited institution for the production of the product.

The fabric used must be waterproof, easy to wipe for long-term use and hygiene.

The fabric used must be waterproof, easy to wipe for long-term use and hygiene.

The manufacturer of thyroid protectors must provide a 2 (two) year warranty against manufacturing defects.