The visor must be made of radiation protective equipment.

- The visor must be made of radiation protective equipment.

- The visor should cover most of the face.

- The leaded acrylic mask should have a length of 20 cm (+-5 cm) from the top to the bottom.

- It should be easily cleanable with a soft cloth without irritation.

- The sponge on the front of the headband should lighten the weight.

- The size should be standard and thus adapt to every face type.

- The glass structure must be resistant to breakage, and even if it breaks, the glass must have the feature of not shattering.

- The glass structure must be resistant to breakage, and even if it breaks, the glass must have the feature of not shattering.