LEAD SINGLE SCREEN TECHNICAL SPECIFICATIONS

Leaded screen dimensions are 100X200.

There is a 2mm thick lead plate between the chipboard slides.

The wheels, which can move in all directions, have legs and have a locking system for fixing them when desired.

The wheels, which can move in all directions, have legs and have a locking system for fixing them when desired.

The wheels, which can move in all directions, have legs and have a locking system for fixing them when desired.

The wheel diameters are sufficient to carry the lead screen comfortably and move it easily.

There must be test reports. It should offer this when requested.

The plate used contains 99.962% lead.