Leaded screen dimensions should be 100X200

Leaded screen dimensions should be 100X200

It should be covered with two-sided chipboard slide.

There should be a 2mm thick lead plate between the chipboard slides.

At a height above the screen where the patient can be monitored; The lead must be glass.

The wheel, which has the ability to move in all directions, must have legs and the wheels must have a locking system to fix it when desired.

The wheel, which has the ability to move in all directions, must have legs and the wheels must have a locking system to fix it when desired.

The wheel diameters must be sufficient to carry the lead screen comfortably and move it easily.

There should be test reports for lead sheet. It should offer this when requested.

The seller must provide a work experience document or reference regarding previous work he has done regarding the products, if requested by the institution.

The seller must provide a work experience document or reference regarding previous work he has done regarding the products, if requested by the institution.