X RAY GONAD PROTECTIVE NEWBORN TECHNICAL SPECIFICATION

The gonad protector must be made of rubber-lead compound equivalent to 1 mm Pb lead.

The protective lead material must be light, homogeneous, thin and multi-layered to ensure flexibility.

There should be two separate gonad protector models for boys and girls.

The fabric used must be waterproof, easy to wipe for long-term use and hygiene.

The fabric used must be waterproof, easy to wipe for long-term use and hygiene.

Gonad protectors should have color options. The user should be able to choose a color according to the color options upon request. Gonad protectors should have a fabric option. The user should be able to request the product as oxfort, polyuran pu, hydrophobic or antibacterial upon request. A technical document must be submitted regarding the fabric used in the production of the product.

In order to prevent counterfeit production of imported products, to prevent products that are tried to be imported by being licensed abroad and then produced here, products that are produced illegally in Türkiye by pretending to be German goods or goods of another country, and products sold under other names, if an imported product is to be supplied, an import declaration regarding the purchase must be submitted. There must be an acceptable period between the import date of the import declaration and the sale date of the imported product.

Gonad protectors should have color options. The user should be able to choose a color according to the color options upon request. Gonad protectors should have a fabric option. The user should be able to request the product as oxfort, polyuran pu, hydrophobic or antibacterial upon request. A technical document must be submitted regarding the fabric used in the production of the product.

Gonad protectors should have color options. The user should be able to choose a color according to the color options upon request. Gonad protectors should have a fabric option. The user should be able to request the product as oxfort, polyuran pu, hydrophobic or antibacterial upon request. A technical document must be submitted regarding the fabric used in the production of the product.

Regarding gonad protectors, they must be produced and certified in accordance with the Personal Protective Equipment Regulation (Official Gazette dated 01 May 2019 and numbered 30761, new regulation (EU) 2016/425

There must be full approval and test reports for the production of the product. It should offer this when requested.

There must be full approval and test reports for the production of the product. It should offer this when requested.

The seller must provide a work experience document or reference regarding previous work he has done regarding the products, if requested by the institution.

The seller must provide a work experience document or reference regarding previous work he has done regarding the products, if requested by the institution.

The gonad protector must have ISO9001:2015 and ISO14001:2015 certificates.

Color selection should be possible for gonad protectors. The vendor must have a UBB registration number.

Gonad protector should be produced in small-medium-large sizes.

The label of gonad protectors must contain manufacturer information, vendor information, size information, production date, lot number and barcode number.

The manufacturer must provide a 2 (two) year warranty against gonad protector defects.