X-Ray protective lead gloves should provide maximum protection to the user's hands against radiation.

- X-Ray protective lead gloves should provide maximum protection to the user's hands against radiation.

- Its weight should be such that it does not disturb the user.

- The surface must be cleanable with a wet cloth.

- The surface must be cleanable with a wet cloth.

- The packaging must contain original information indicating the manufacturer's information and protective norms.

- The packaging must contain original information indicating the manufacturer's information and protective norms.

- The company must have an ISO 9001:2015 certificate.

- The company must have an ISO 13485:2016 certificate. This must be presented upon delivery of the material.

- The company must have an ISO 13485:2016 certificate. This must be presented upon delivery of the material.

- The gloves are certified according to directive 2016/425EU category III and have a 4-digit CE certificate obtained from a Notified Body.

- Radiation protective gloves should be powder-free. If you want to use powder when wearing it, the powder should be presented in its original packaging.

- There must be an ISO 45001:2018 certificate.

- Protective Gloves must be certified according to EN 420:2003 + A1:2009 standard and EN 374-2:2003 standard and this must be submitted to the institution with the documents related to the manufacturer.

- Protective Gloves must be certified according to EN 420:2003 + A1:2009 standard and EN 374-2:2003 standard and this must be submitted to the institution with the documents related to the manufacturer.

- It should be in various sizes. ( 6.5- 7- 7.5 -8 -8.5- 9 )

- If the company selling the product is a Distributor, it must submit a Distributorship Certificate; if it is not a Distributor, it must submit an authorized dealer certificate obtained from the Distributor or the manufacturer, and issued based on the relevant purchase addressed to our institution.

- A commitment to comply with the specification must be written stating that all specification articles are complied with.

- Evaluations should be made on samples.